## FINAL
For Gujrat |  |  |  | GUJ | M.P. | CHG | MAH | GOA | DD | DNH | ESIL | W.R.
Un Restricted >> |  | SIMUL. Peak DEMD + L.S. |  | 13013 |  |  | 18563.712 | [5 empty] | PEAK FREQ FROM MSEB SHEET
Catered>> |  | SIMUL. Peak DEMD |  | 13013 | 6946.73 | 3105 | 18563.712 | 466.25 | 286 | 703 | 396.5208 | 43480.2128 | FREQ= | 49.8 |  |  |  | 0.1
if(Un res < Cat) Unres=Cat |  | LOAD SHEDDING ( L.S.) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OFF- PEAK FREQ FROM MSEB SHEET
(L.S should be +ve) |  | STATE GENERATION | [5 empty] | 0.41415 |  |  |  |  | FREQ= | 49.96
|  | DRAWAL(MUS) |  | 57.566 | 98.9095 | 24.2708 | 136.665 | 9.8662 | 7.0331 | 16.3021 | 9.63 | 360.2427
Un Restricted >> |  | REQUIRMENT.(MUS) |  | 318.602 | [5 empty] | 16.3021 |  |  |  |  | MW
Catered>> |  | AVAILABILITY.(MUS) |  | 318.602 | 158.4839 | 76.6894 | 440.263 |  |  | 16.3021 | 0 |  |  |  | -2519.86 | -60.4472
if(Un res < Cat) Unres=Cat |  | SHORTFALL(MUS) |  | 0 | 0 | 0.2385 | 3.83 | 0 |  |  |  |  | APL HVDC |  | 0 | 0
(shortfall shd be +ve) |  | SOLAR(MU) |  | 5.29 | 4.1106 |  | 1.341 |  |  |  |  | 10.7416
|  | HYDRO GEN(MUS) |  | 2.308 | 10.2633 | 0 | 24.685 |  |  |  |  | 37.2563
|  | WIND |  | 37.191 | 13.981 |  | 25.581 |  |  |  |  | 76.753
|  | MAX DEMAND OF THE DAY |  | 14514 | 7366.78 | 3138 | 19912.944 | 472.25 | 318 | 718 | 462.0587 | 46902.0327
|  | LOAD SHEDDING | LOAD SHEDDING | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | TIME | TIME | 15 | 23 | 19 | 12 | 22 | 15 | 23 | 4 | 133
|  | 3 O'Clock DEMAND |  | 12458 | 6320.85 | 3055 | 17262.664 | 398.25 | 274 | 711 | 425.2838 | 40905.0478
|  | LOAD SHEDDING | LOAD SHEDDING | 0 | 0 | 0 | 31 | 0 | 0 | 0 | 0 | 31
|  |  |  | GUJ | M.P. | CHG | MAH | GOA | DD | DNH | ESIL |  |  | MP L.S | CSEB L.S. | MSEB DEMAND | MSEB L.S. | DD L.S | DNH L.S
| 19 | PEAK DEMAND.AT 19 HRS |  | 11251
|  | AVAILABLTY AT 19 HRS |  | 11235 | #REF! | #REF! | 13416 | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 20 | PEAK DEMAND AT 20 HRS |  | 10813
|  | AVAILABLTY AT 20 HRS |  | 10817 | #REF! | #REF! | 14090 | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 21 | PEAK DEMAND AT 21 HRS |  | 10667
|  | AVAILABLTY AT 21 HRS |  | 10660 | #REF! | #REF! | 14241 | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 22 | PEAK DEMAND AT 22 HRS |  | 10435
|  | AVAILABLTY AT 22 HRS |  | 10406 | #REF! | #REF! | 13829 | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | CONSTS. GENER | [5 empty] | #REF!
|  | DRAWAL |  | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | A-Malan/Mehgao | #REF!
|  | REQUIRMENT. |  | #REF! |  | 0 | 0
|  | AVAILABILITY. |  | #REF! | #REF! | #REF! | [6 empty] | B-Kota /Badod | #REF!
|  | SHORTFALL |  | #REF! | #REF! | #REF! | #REF! |  |  |  |  | #REF!
|  | SOLAR |  | #REF!
|  | HYDRO GEN(MUS) |  | #REF! | #REF! | #REF! | #REF! |  |  |  |  | #REF! | B'padar Imp
|  | WIND |  | #REF! | 0 | 0 | #REF! | [5 empty] | B'padar Exp
|  | MAX DEMAND OF THE DAY |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | LOAD SHEDDING | LOAD SHEDDING | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0
|  | TIME | TIME | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | 3 O'Clock DEMAND |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | LOAD SHEDDING | LOAD SHEDDING | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0
#REF!

## CPCC-J
INTER REGIOL EXCHANGE OF WRTS
Comment:
Date: | 2016-05-31 | Data Not Available fill that block with red
INTER REGIOL EXCHANGE | [6 empty] | VOLTAGES
ME OF THE HVDC/HVAC STATION |  | PREVIOUS DAY
|  | MW (MAX) |  | MU |  |  | S/S | SEONI 765 kV | GWL 765 kV | BINA 765 kV
|  | IMP | EXP | IMP | EXP |  | MAX | 784 | 785 | 786
VHVDC | BLOCK NO-1&2 | 250 | -250 | 1.038 | -2.136 |  | TIME | 22:00 | 5:00 | 4:00
| Time : | 17:38 to 21:07 | 12:18 to 14:38 |  |  |  | MIN | 756 | 763 | 764
B'WATI HVDC | BLOCK NO-1&2 |  | -1000 |  | -23.891 |  | TIME | 7:00 | 12:00 | 15:00
| Time : |  | 00:00 to 24:00
SR | 765kV Solapur-Raichur# I |  | -1084 |  | -16.876
| Time : |  | 1100
| 765kV Solapur-Raichur# II |  | -1282 |  | -17.237
| Time : |  | 1100
| 400kV render-Kolhapur(GIS)-1 | 96 | -49 | 0.35982 | -0.14672
Time :
| 400kV render-Kolhapur(GIS)-2 | 96 | -49 | 0.3569 | -0.10043
Time :
ER | R'kela # 1(Raigarh-Sundargarh#1 | 33 | -61 | 0.3039 |  |  | VOLTAGES(400kV)
| Time : | 2100 | 700
| R'kela # 1(Raigarh-Sundargarh#2 | 44 | -87 | 0.43195 |  |  | S/S | GWL 400 kV | BINA 400 kV
| Time : | 2100 | 700 |  |  |  | MAX | 407 | 412
| Rourkela # 2 (SEL- 1) | 41 | -117 | 0.05164 | -0.9489 |  | TIME | 5:00 | 04:00
| Time : | 2100 | 700 |  |  |  | MIN | 395 | 401
| R'kela # 4 (SEL-2) | 11 | -103 | 0.9 |  |  | TIME | 12:00 | 15:00
| Time : | 300 | 0.5
B'padar # 1,2&3
Time :
| Ranchi-Sipat #I&II |  | -186 |  | -1
| Time : |  | 2000
| 765kv Ranchi-Dharamjaygarh # 1 | 168 | -51 | 1.272
| Time : | 1200 | 2200
| 765kv Ranchi-Dharamjaygarh # 2 | 149 | -50 | 1.072 |  |  |  | SI/RTAMC
| Time : | 1200 | 2200 |  |  |  |  | WRTS - II/Vadodara
| 765kv Dharamjaygarh- Jharsuguda # 1 | 599 |  | 10.61
| Time : | 2400
| 765kv Dharamjaygarh- Jharsuguda # 2 | 599 |  | 10.728
| Time : | 2400
NR | 765kV Agra- Gwalior #1&2 |  | -3336 |  | -64.313
| Time : |  | 21:00
| 400kV Zerda - Kankroli | 440 |  | 7.042
| Time : | 7:00
| 400kV Zerda - Bhinmal | 373 |  | 5.922
| Time : | 6:47
Vindhyachal - Rihand
Time :
| 765kV Gwalior-Jaipur #1&2 |  | -512 |  | -7.459
| Time : |  | 21:00

## CHECK
GUVNL data checking |  | MPSEB data checking |  | CSEB data checking
Short fall | DATA OK | Short fall | DATA OK | Short fall | DATA OK
Solar | DATA OK | Solar | DATA OK | Solar | DATA OK
HYDRO | DATA OK | HYDRO | DATA OK | HYDRO | DATA OK
WIND | DATA OK | WIND | DATA OK | WIND | DATA OK
MSEB data checking
Short fall | DATA OK
Solar | DATA OK
HYDRO | DATA OK
WIND | DATA OK